## Sheet1
EconomicAnalysisM3
resources
inputs |  |  |  |  | Natural Gas
|  | Wind | Solar | Batteries | Combine Cycle | Combination Turbine | Reciprocating IC | Aeroderivative
CapEx [$/kW] |  | 1470 | 1331 | 1400 | 1079 | 710 | 1802 | 1170 | reference sites | https://www.nrel.gov/docs/fy20osti/74598.pdf |  | p7 Wind T.ES1
Fixed O&M [$/kw/yr] |  | 44 | 15.19 | 15 | 14.04 | 6.97 | 35.01 | 16.23 |  | https://windexchange.energy.gov/policies-incentives?state=co |  | wind
Var O&M [$/MWh] |  | N/A | N/A | N/A | 2.54 | 4.48 | 5.65 | 4.28 |  | https://www.eia.gov/outlooks/aeo/assumptions/pdf/table_8.2.pdf |  | solar (T1)
[10 empty] | https://www.eia.gov/outlooks/aeo/assumptions/pdf/table_8.2.pdf |  | gas (T1)
Heat Rate [BTU/kWh] |  | N/A | N/A | N/A | 6431 | 9905 | 8295 | 9124 |  | https://www.eia.gov/outlooks/steo/data/browser/#/?v=16&f=M&s=&start=201601&end=202112&id=&maptype=0&ctype=linechart&linechart=NGHHMCF |  | forward curve '2021'
frwd. curve [$/mmBTU] |  | N/A | N/A | N/A | givenDown | givenDown | givenDown | givenDown |  | https://www.nrel.gov/docs/fy19osti/73222.pdf |  | batteries
margin (apprx.) |  | 0.07 | 0.07 | N/A | N/A | N/A | N/A | N/A
life [yr] (apprx.) |  | 25 | 25 | 15 | 30 | 30 | 30 | 30
Capacity Nameplate [MW] |  | 100 | 100 | 100 | 418 | 237 | 21 | 105
Capacity factor (apprx.) |  | 0.4 | 0.3 | 1 | 1 | 1 | 1 | 1 |  |  | *for gas analyze vs Market price (off peak 11pm - 7am MPT) rest on peak
efficiency |  | N/A | N/A | 0.75 | N/A | N/A | N/A | N/A |  |  | * for batteries charge when P is cheap or to avoid curtailments
hr/yr |  | 8760 | 8760 | 8760 | 8760 | 8760 | 8760 | 8760
PTC [15 $/MWh](1st 10 yr) |  | 15 | N/A | N/A | N/A | N/A | N/A | N/A
ITC (20% capEx) |  | N/A | 0.2 | N/A | N/A | N/A | N/A | N/A
calculations
CapEx [$] |  | 147000000 | 133100000 | N/A | N/A | N/A | N/A | N/A
fixed [$] |  | 110000000 | 37975000 | N/A | N/A | N/A | N/A | N/A
total Energy [MWh] |  | 8760000 | 6570000 | N/A | N/A | N/A | N/A | N/A
production tax Credit [$] |  | 52560000 | 26620000 | N/A | N/A | N/A | N/A | N/A
Total cost (+margin) |  | 218750800 | 154566850 | N/A | N/A | N/A | N/A | N/A
output
PPA [$/MWh] |  | 24.9716 | N/A | 33.2954 | givenDown | givenDown | givenDown | givenDown
|  | N/A | 23.5262 | 31.3682
Months (2021) | frwd. curve [$/mmBTU] |  |  |  | [$/MWh]
Jan | 3.22 |  |  |  | 23.2478 | 36.3741 | 32.3599 | 33.6593
Feb | 3.17 |  |  |  | 22.9263 | 35.8788 | 31.9451 | 33.2031
Mar | 3.11 |  |  |  | 22.5404 | 35.2845 | 31.4475 | 32.6556
Apr | 3.1 |  |  |  | 22.4761 | 35.1855 | 31.3645 | 32.5644
May | 3.07 |  |  |  | 22.2832 | 34.8884 | 31.1156 | 32.2907
Jun | 3.07 |  |  |  | 22.2832 | 34.8884 | 31.1156 | 32.2907
Jul | 3.09 |  |  |  | 22.4118 | 35.0864 | 31.2816 | 32.4732
Aug | 3.09 |  |  |  | 22.4118 | 35.0864 | 31.2816 | 32.4732
Sep | 3.08 |  |  |  | 22.3475 | 34.9874 | 31.1986 | 32.3819
Oct | 3.12 |  |  |  | 22.6047 | 35.3836 | 31.5304 | 32.7469
Nov | 3.18 |  |  |  | 22.9906 | 35.9779 | 32.0281 | 33.2943
Dec | 3.27 |  |  |  | 23.5694 | 36.8693 | 32.7747 | 34.1155
Note on E26: Kolovos: from Wind
Note on E27: Kolovos: from Solar